## Slide 1
C PER
Center for Advanced Power Engineering Research
Reduction Model and Circuit Mapping with GIS
Presented By:
Joshua Smith, Undergraduate Research Assistant
Dr. Elham Makram, Faculty Advisor
Clemson University

## Slide 2: Introduction
Feeder Reduction
  Quasi-Static Time Series Analysis used to prove electrical equivalency of reduced feeder through comparison to historical data
Circuit Mapping with GIS
  Program flow with example of mapped circuit
Future Work

## Slide 3: Objectives
Determine probabilistic deployment of DER
Develop future planning criteria involving voltage regulator placement, capacitor placement, and wire sizing

## Slide 4: Feeder Reduction
Figure 1: Detailed Feeder Model

## Slide 5: Feeder Reduction
OpenDSS (powerflow software by EPRI)
  Voltage regulators, capacitors, etc. maintained
  Lines reduced by change in conductor type/spacing
  Loads represented as spot loads
Quasi-Static Time Series
  Powerflow based on previous state

## Slide 6: Feeder Reduction
Figure 2a: Simplified Feeder Planning
Figure 2b: Simplified Feeder Model

## Slide 7: Feeder Reduction
Figure 3: 24 QSTS kVAR and Resulting Error
Table 1: Reduction Percentages

## Slide 8: Circuit Mapping with ArcGIS
CYME
OpenDSS
Coordinates
ID
Bus1
Bus2
Lat
Long
Shape File
Determine DG Location on Feeder
Reduce?
Update?
Suitable PV Locations
Reduce
Analysis
YES
YES
NO
NO

## Slide 9: Circuit Mapping with ArcGIS
CYME
OpenDSS
Coordinates
ID
Bus1
Bus2
Lat
Long
Shape File
Determine DG Location on Feeder
Reduce?
Update?
Suitable PV Locations
Reduce
Analysis
YES
YES
NO
NO

## Slide 10: Circuit Mapping with ArcGIS
Figure 4a: MATLAB Feeder Plot
Figure 4b: ArcGIS Feeder Plot

## Slide 11: Future - Circuit Mapping with ArcGIS
CYME
OpenDSS
Coordinates
ID
Bus1
Bus2
Lat
Long
Shape File
Determine DG Location on Feeder
Reduce?
Update?
Suitable PV Locations
Reduce
Analysis
YES
YES
NO
NO

## Slide 12: Future - Circuit Mapping with GIS
Figure 5: Circuit Plotted in ArcGIS with PV Requests

## Slide 13: Future - Circuit Mapping with GIS
Feeder Lines
PV Request
Intersection?
Return
Add Intersect
Temporary PV Delete
Unmatched PV?
Increment PV Point Buffer
YES
NO
NO
YES

## Slide 14: Future - Circuit Mapping with GIS
Feeder Lines
PV Request
Return
Add Intersect
Unmatched PV?
Determine Minimum Distance
NO
Distance from each request to every point on feeder
YES

## Slide 15: Future – Circuit Mapping with GIS
System Wide Analysis
Use size of current requests to approximate the land use
Based on land use, determine minimum land suitability necessary for a requests
Determine minimum stiffness ratio based on POI
  Ability of system to resist voltage changes due to variability of DG
Use suitability and stiffness ratio to determine future DER POI

## Slide 16: Conclusion
Automated feeder simplification is necessary to reduce the runtime
Adding current and predicted future DER to the OpenDSS model will provide better insight into necessary system upgrades
The simplified feeder can be used to test the effects of voltage regulator placement, capacitor placement, and wire sizing

## Slide 17: Thanks！