## Construct_RECL
# | Solar Site Name | Feeder Name | PI tag (a-ph kw) | Size (kw) | Station | SubStation # | City | County | STA LAT | STA LONG | Op. Area | # | SITE LAT | SITE LONG | X Grid | Y Grid | Irrad Zone | Service Region | F/V | C_Tilt | Eff. Azimuth | YEAR OF OP. | Installer | # Modules | Panel Size (Wp) | Module Type | # Inv. | Inv. Ratings (kW_AC) | Inverter Types | Delivery Voltage | Email | Owner's Phone# | Solar Site Name
1 | Innovative Solar 16, LLC | 1204 | 356363797 | 1981 | EDNEYVILLE RET | STA3644 | Hendersonville | Henderson | 35.3737 | -82.3571 | 21 | 1 | 35.3637 | -82.3508 | 1001283 | 604134 |  | Southern | F |  |  | U.C. | Innovative Solar Systems, LLC | 10500 | 245 | Canadian Solar CS6P-245P | 5 | 500 | AE-500-TX | 12,470Y/7,200 | johngreen@bellsouth.net | (828) 215-9064 | Innovative Solar 16, LLC
2 | Roper Farm, LLC | 1212 | PRKWAYSS.RECL359180508.akq | 5000 | PARKWAY SS | STA4479 | Grover | Cleveland | 35.1807 | -81.4195 | 42 | 2 | 35.1881 | -81.4389 | 1271581 | 532317 |  | Central | F |  |  | U.C. | Strata Solar, LLC | 26000 | 240 | Astronergy | 10 | 500 | SMA - Sunny Central 500HE US | 12,470Y/7,200 | mcohen@stratasolar.com | (919) 960-6015 | Roper Farm, LLC
3 | York Road Solar I, LLC | 1203 | CRWDRCR.RECL370993129.AKW | 1890 | CROWDERS CREEK RET | STA5175 | Kings Mountain | Cleveland | 35.2326 | -81.3136 | 42 | 3 | 35.2225 | -81.3318 | 1303587 | 544039 |  | Central | F |  |  | U.C. | ATOOD | 7296 | 295 | Poly-Crystalline | 3 | 630 | SMA - Sunny Central 630 CP-US | 12,470Y/7,200 | adams@theadamsgroup.com | (980) 254-7823 | York Road Solar I, LLC
4 | Amethyst Solar, LLC | 1203 | CLEGHRN.RECL357617649.AKW | 3000 | CLEGHORN SS | STA3396 | Forest City | Rutherford | 35.3148 | -81.9357 | 33 | 4 | 35.3233 | -81.9351 | 1124645 | 585520 |  | Southern | F |  |  | U.C. | Sunlight Partners | 13068 | 285 | Trina TSM-285 PA 14 | 6 | 500 | AE Solaron | 12,470Y/7,200 | jason@sunlightpartners.com | (480) 924-5519 | Amethyst Solar, LLC
5 | Buddy Solar, LLC | 1211 | ROCKWLL.RECL358708374.AKW | 4000 | ROCKWELL RET | STA1190 | Gold Hill | Rowan | 35.5814 | -80.3869 | 0 | 5 | 35.5415 | -80.3598 | 1595552 | 654756 |  | Central | F |  |  | U.C. | Sunlight Partners | 17424 | 285 | Trina TSM-285 PA 14 | 8 | 500 | AE Solaron | 12,470Y/7,200 | jason@sunlightpartners.com | (480) 924-5519 | Buddy Solar, LLC
6 | Auten Road Farm, LLC | 1203 | ACREROCK.RECL358957739.AKW | 4998 | ACREROCK TIE | STA1330 | Gastonia | Gaston | 35.2977 | -81.1686 | 40 | 6 | 35.2988 | -81.1445 | 1360336 | 570574 |  | Central | F |  |  | U.C. | Strata Solar, LLC | 21660 | 300 | Canadian Solar CS6X 300P | 6 | 880 | SMA - Sunny Central 800 CP-US | 12,470Y/7,200 | mcohen@stratasolar.com | (919) 960-6015 | Auten Road Farm, LLC
7 | Fisher Solar Farm, LLC | 1208 | OAKBOR_R.RECL370366370 | 4950 | OAKBORO RET | STA1022 | Oakboro | Stanly | 35.2239 | -80.3334 | 1 | 7 | 35.2455 | -80.3303 | 1603402 | 546819 |  | Central | F |  |  | U.C. | Strata Solar, LLC | 21660 | 300 | Canadian Solar CS6X-300P | 7 | 750 | SMA - Sunny Central 750 CP-US | 12,470Y/7,200 | mcohen@stratasolar.com | (919) 960-6015 | Fisher Solar Farm, LLC
8 | Stikeleather Farm, LLC | 1202 | HIDNITE.RECL370675673.AKW | 5000 | HIDDENITE RET | STA3908 | Hiddenite | Alexander | 35.8879 | -81.0769 | 51 | 8 | 35.9048 | -81.1012 | 1377835 | 790838 |  | Central | F |  |  | U.C. | Strata Solar, LLC | 21660 | 300 | Canadian Solar CS6X-300P | 7 | 800 | SMA - Sunny Central 800 CP-US | 12,470Y/7,200 | mcohen@stratasolar.com | (919) 960-6015 | Stikeleather Farm, LLC
9 | Star Solar, LLC | 2410 | 357162353 | 5000 | WEAVER RET | STA1709 | Durham | Durham | 36.0651 | -78.8506 | 91 | 9 | 36.0815 | -78.8229 | 2052403 | 848579 |  | Northern | F |  |  | U.C. | Sunlight Partners | 21780 | 285 | Trina TSM-285 PA14 | 10 | 500 | Solaron 500 KW PV | 24,940/14,400 | jason@sunlightpartners.com | (480) 924-5519 | Star Solar, LLC
10 | Loy Farm Solar LLC | 2410 | 357484830 | 1430 | GLEN RAVEN MN | STA1176 | Burlington | Alamance | 36.1127 | -79.4678 | 90 | 10 | 36.0987 | -79.4939 | 1854271 | 855198 |  | Northern | F |  |  | U.C. | Petra Engineering | 7400 | 270 | Solaria | 3 | 500 | SGI 500 | 23,900/13,800 | wmarshall@petraeng.com | (704) 987-1406 | Loy Farm Solar LLC
11 | Jacob Solar, LLC | 1206 | 357587846 | 5000 | WILLIAMSBURG RET | STA5089 | Reidsville | Rockingham | 36.2922 | -79.5713 | 90 | 11 | 36.3208 | -79.6328 | 1813875 | 936283 |  | Northern | F |  |  | U.C. | Sunlight Partners | 21780 | 285 | Trina TSM-285 PA14 | 10 | 500 | AE Solaron | 12,470Y/7,200 | jason@sunlightpartners.com | (480) 924-5519 | Jacob Solar, LLC
12 | Flash Solar, LLC | 1206 | 362706415 | 5000 | OYAMA RET | STA1093 | Conover | Catawba | 35.7312 | -81.2603 | 50 | 12 | 35.7554 | -81.2381 | 1336062 | 737341 |  | Central | F |  |  | U.C. | Sunlight Partners | 21780 | 285 | Trina TSM-285 PA14 | 10 | 500 | AE Solaron | 12,470Y/7,200 | jason@sunlightpartners.com | (480) 924-5519 | Flash Solar, LLC
13 | Audrey Solar, LLC | 1204 | 366687116 | 3000 | BLANTON RET | STA3149 | Shelby | Cleveland | 35.2971 | -81.574 | 42 | 13 | 35.3266 | -81.6238 | 1217672 | 584124 |  | Central | F |  |  | U.C. | Sunlight Partners | 13068 | 285 | Trina TSM-285 PA14 | 6 | 500 | AE Solaron | 12,470Y/7,200 | jason@sunlightpartners.com | (480) 924-5519 | Audrey Solar, LLC
14 | Neisler Street Solar I, LLC | 1201 | 373711632 | 1990 | BLANTON RET | STA3149 | Shelby | Cleveland | 35.2971 | -81.574 | 42 | 14 | 35.2899 | -81.5681 | 1233933 | 570320 |  | Central | F |  |  | U.C. | ATOOD | 2052 | 290 | Poly-Crystalline | 4 | 500 | SMA - Sunny Central 500HE US | 12,470Y/7,200 | brian@atoad.com | (704) 776-6057 | Neisler Street Solar I, LLC
15 | Sophie Solar, LLC | 1204 | 379194929 | 4500 | MOORESBORO RET | STA4323 | Mooresboro | Cleveland | 35.2956 | -81.6979 | 42 | 15 | 35.3061 | -81.6959 | 1195956 | 577251 |  | Central | F |  |  | U.C. | Sunlight Partners | 26040 | 235 | Jinko JKM | 9 | 500 | AE Solaron | 12,470Y/7,200 | jason@sunlightpartners.com | (480) 924-5519 | Sophie Solar, LLC
| Durham Solar LLC | 1203 or 1201 |  | 3200 | ASHE ST SW STA | STA1174 | Durham | Durham | 35.9812 | -78.8622 | 91 |  | 36.0036 | -78.8477 | 2045426 | 820195 |  | Northern | F |  |  | U.C. | Pinegate Holdings | 15167 | 300 | Canadian Solar CS6X | 4 | 800 | SMA - Sunny Central 800 CP-US | 12,470Y/7,200 | jluster@pinegateholdings.com | (407) 963-2391 | Durham Solar LLC
| Innovative Solar 12 | 1201 |  | 1996.4 | AVONDALE RET | STA1720 | Forest City | Rutherford | 35.2728 | -81.7948 | 33 |  | 35.1965 | -81.7879 | 1167864 | 538052 |  | Southern | F |  |  | U.C. | Innovative Solar Systems, LLC | 8680 | 230 | Canadian Solar CS6P | 4 | 500 | AE-500-TX | 12,470Y/7,200 | johngreen@bellsouth.net | (828) 215-9064 | Innovative Solar 12
| BG Stewart Solar Farm LLC | 2414 |  | 5000 | BEAVER DAM RET | STA1426 | Marshville | Union | 34.9891 | -80.377 | 62 |  | 34.9755 | -80.388 | 1584425 | 448900 |  | Central | F |  |  | U.C. | McBride Energy Services | 21472 | 310 | REC310 | 6 | 900 | SMA - Sunny Central 900 CP-US | 12,470Y/7,200 | bunge@ccrenew.com | (310) 581-6299 | BG Stewart Solar Farm LLC
| Innovative Solar 23, LLC | 1207 |  | 2500 | BETHWARE RET | STA2589 | Kings Mountain | Cleveland | 35.2516 | -81.4149 | 42 |  | 35.2574 | -81.4204 | 1277607 | 557413 |  | Central | F |  |  | U.C. | Self Installed - NC | 10500 | 245 | Canadian Solar CS6P | 5 | 500 | AE-500-TX | 12,470Y/7,200 | johngreen@bellsouth.net | (828) 215-9064 | Innovative Solar 23, LLC
| Shelby Randolph Rd Solar 1, LLC | 1203 |  | 1990 | BLANTON RET | STA3149 | Shelby | Cleveland | 35.2971 | -81.574 | 42 |  | 35.3083 | -81.592 | 1227011 | 577232 |  | Central | F |  |  | U.C. | Self Installed - NC | 12000 | 280 | Trina | 4 | 500 | SMA-Sunny Central 500HE US | 12,470Y/7,200 | brian@atood.com | (704) 776-6057 | Shelby Randolph Rd Solar 1, LLC
| Lafayette Solar I, LLC | 1202 |  | 2000 | CHRISTOPHER RD RET | STA2011 | Shelby | Cleveland | 35.2446 | -81.5671 | 42 |  | 35.2326 | -81.5637 | 1234737 | 549454 |  | Central | F |  |  | U.C. | ATOOD | 8512 | 290 | Trina TSM | 4 | 500 | 500T U X480 | 12,470Y/7,200 | brian@atood.com | (704) 776-6057 | Lafayette Solar I, LLC
| Mill Solar I, LLC | 1201 |  | 1500 | DEERFIELD RET | STA1856 | Mooresville | Iredell | 35.5677 | -80.8405 | 2 |  | 35.576 | -80.8199 | 1459065 | 669471 |  | Central | F |  |  | U.C. | NxGen Power | 5698 | 280 | Trina TSM | 3 | 500 | AE Solaron500NX | 12,470Y/7,200 | mbyrnes@nxgenpower.com | (828) 350-3993 | Mill Solar I, LLC
| Elliana Solar, LLC | 1203 |  | 3000 | HAW RIVER RET | STA3884 | Burlington | Alamance | 36.0978 | -79.3519 | 90 |  | 36.1305 | -79.3318 | 1902301 | 866543 |  | Northern | F |  |  | U.C. | Sunlight Partners | 13068 | 285 | Trina TSM-285 PA14 | 6 | 500 | AE Solaron | 12,470Y/7,200 | bunge@ccrenew.com | (310) 581-6299 | Elliana Solar, LLC
| Duck Solar, LLC | 1206 |  | 5000 | HUDLOW RET | STA2601 | Forest City | Rutherford | 35.4119 | -81.9171 | 33 |  | 35.4362 | -81.87 | 1145670 | 626008 |  | Southern | F |  |  | U.C. | Sunlight Partners | 21780 | 285 | Trina TSM-285 PA14 | 10 | 500 | AE Solaron | 12,470Y/7,200 | jason@sunlightpartners.com | (480) 924-5519 | Duck Solar, LLC
| Innovative Solar 26, LLC | 1202 |  | 2000 | LONGVIEW RET | STA4173 | Hildebran | Burke | 35.7229 | -81.4068 | 50 |  | 35.7105 | -81.413 | 1283864 | 722229 |  | Central | F |  |  | U.C. | Self Installed - NC | 10500 | 245 | Canadian Solar CS6P | 4 | 500 | AE-500-TX | 12,470Y/7,200 | johngreen@bellsouth.net | (828) 215-9064 | Innovative Solar 26, LLC
| West Salisbury Farm, LLC | 1212 |  | 4998 | MAJOLICA RD RET | STA1655 | Salisbury | Rowan | 35.6663 | -80.5241 | 0 |  | 35.6643 | -80.522 | 1548035 | 700172 |  | Central | F |  |  | U.C. | Strata Solar, LLC | 21660 | 300 | Canadian Solar CS6X | 6 | 880 | Sunny Central 800CP-US | 12,470Y/7,200 | mcohen@stratasolar.com | (919) 960-6015 | West Salisbury Farm, LLC
| Moore Solar LLC - NC Hwy 158 | 1202 |  | 5000 | MONROETON RET | STA4316 | Reidsville | Rockingham | 36.2897 | -79.7115 | 82 |  | 36.3156 | -79.7125 | 1790906 | 934527 |  | Northern | F |  |  | U.C. | Sustainable Energy Solutions | 21640 | 300 | ReneSola JC300M-24 Abh | 5 | 1000 | AE 1000NX/1kVDC | 12,470Y/7,200 | bung@ccrenew.com | (636) 474-9067 | Moore Solar LLC - NC Hwy 158
| Angel Solar, LLC | 1201 |  | 5000 | MT OLIVE RET | STA1545 | Newton | Catawba | 35.6823 | -81.2097 | 51 |  | 35.6503 | -81.2114 | 1343490 | 698914 |  | Central | F |  |  | U.C. | Cypress Creek Renewables, LLC | 21780 | 285 | Trina TSM-285 PA14 | 10 | 500 | AE Solaron | 12,470Y/7,200 | bunge@ccrenew.com | (310) 581-6299 | Angel Solar, LLC
| County Home Solar Center, LLC | 1211 |  | 1999 | PATTERSON SPRINGS RET | STA1315 | Shelby | Cleveland | 35.2659 | -81.4971 | 42 |  | 35.2624 | -81.5092 | 1251428 | 559851 |  | Central | F |  |  | U.C. | Heliosage Energy | 6664 | 300 | Yingli YL 300P-35b | 4 | 500 | AE 500NX-1kV | 12,470Y/7,200 | afoukal@heliosage.com | (434) 293-7589 | County Home Solar Center, LLC
| Sid Solar I,LLC | 1211 |  | 4875 | PATTERSON SPRINGS RET | STA1315 | Shelby | Cleveland | 35.2659 | -81.4971 | 42 |  | 35.2582 | -81.5055 | 1252320 | 558329 |  | Central | F |  |  | U.C. | ATOOD | 20520 | 290 |  | 10 | 500 | 500T U X480 | 12,470Y/7,200 | brian@atood.com | (704) 776-6057 | Sid Solar I,LLC
| Apple One LLC | 1201 |  | 4950 | PINCH GUT CREEK RET | STA2037 | Newton | Catawba | 35.635 | -81.1615 | 50 |  | 35.6309 | -81.155 | 1359768 | 691486 |  | Central | F |  |  | U.C. | Cypress Creek Renewables, LLC | 21472 | 310 | REC310 | 6 | 900 | SMA - Sunny Central 750 CP-US | 12,470Y/7,200 | norqual@ccrenew.com | (310) 746-7067 | Apple One LLC
| Milo Solar, LLC | 1203 |  | 3000 | PLEASANT GROVE RET | STA4558 | Burlington | Alamance | 36.191 | -79.3138 | 90 |  | 36.1519 | -79.3517 | 1897014 | 874316 |  | Northern | F |  |  | U.C. | Sunlight Partners | 13068 | 285 | Trina TSM PA14 | 6 | 500 | AE Solaron | 12,470Y/7,200 | jason@sunlightpartners.com | (480) 924-5519 | Milo Solar, LLC
| Millikan Farm, LLC | 1210 |  | 4998 | RANDLEMAN RD RET | STA1480 | Randleman | Randolph | 35.8353 | -79.8003 | 81 |  | 35.822 | -79.7713 | 1771401 | 754998 |  | Northern | F |  |  | U.C. | McBride Energy Services | 21660 | 300 | Canadian Solar CS6X | 6 | 880 | SMA - Sunny Central 800 CP-US | 12,470Y/7,200 | bunge@ccrenew.com | (310) 581-6299 | Millikan Farm, LLC
| Misenheimer Farm, LLC | 2406 |  | 4998 | RICHFIELD RET | STA1455 | Richfield | Stanly | 35.467 | -80.2871 | 1 |  | 35.4673 | -80.2944 | 1614935 | 627502 |  | Central | F |  |  | U.C. | Strata Solar, LLC | 21660 | 300 | Canadian Solar CS6X | 6 | 880 | SMA - Sunny Central 800 CP-US | 12,470Y/7,200 | mcohen@stratasolar.com | (919) 960-6015 | Misenheimer Farm, LLC
| Charlotte Solar, LLC | 1202 |  | 5000 | RIVERSTONE SS | STA1876 | Forest City | Rutherford | 35.2099 | -81.8708 | 33 |  | 35.2646 | -81.8255 | 1157174 | 563174 |  | Southern | F |  |  | U.C. | Sunlight Partners | 21780 | 285 | Trina TSM-285 PA14 | 10 | 500 | AE Solaron | 12,470Y/7,200 | jason@sunlightpartners.com | (480) 924-5519 | Charlotte Solar, LLC
| Howell Midland Farm, LLC | 2401 |  | 4998 | WALLACE RD RET | STA2058 | Midland | Cabarrus | 35.218 | -80.5364 | 1 |  | 35.2261 | -80.5399 | 1540293 | 540754 |  | Central | F |  |  | U.C. | Strata Solar, LLC | 21660 | 300 | Canadian Solar CS6X | 6 | 880 | SMA - Sunny Central 800 CP-US | 23,900/13,800 | mcohen@stratasolar.com | (919) 960-6015 | Howell Midland Farm, LLC
| Innovative Solar 18, LLC | 1203 |  | 1989 | WASHBURN RET | STA5055 | Bostic | Rutherford | 35.39 | -81.8131 | 33 |  | 35.3771 | -81.7914 | 1168236 | 603855 |  | Southern | F |  |  | U.C. | Innovative Solar Systems, LLC | 10500 | 245 | Canadian Solar CS6P | 5 | 500 | AE-500-TX | 12,470Y/7,200 | johngreen@bellsouth.net | (828) 215-9064 | Innovative Solar 18, LLC
| Owen Solar, LLC | 1201 |  | 5000 | ZION CHURCH RD RET | STA1981 | Lincolnton | Catawba | 35.6329 | -81.3214 | 50 |  | 35.5876 | -81.3073 | 1314188 | 676750 |  | Central | F |  |  | U.C. | Sunlight Partners | 21780 | 285 | Trina TSM PA14 | 10 | 500 | AE Solaron | 12,470Y/7,200 | jason@sunlightpartners.com | (480) 924-5519 | Owen Solar, LLC
| TOTAL |  | Total U.C. | 141730.4 | kW
|  |  | (PI Tagged) | 84991.4 | kW

## Sheet1
AC PP | DC Design | AC INV | # Modules | Panel Size (Wp) | # Inv. | Inv. Ratings (kW_AC)
1981 | 2572.5 | 2500 | 10500 | 245 | 5 | 500
5000 | 6240 | 5000 | 26000 | 240 | 10 | 500
1890 | 2152.32 | 1890 | 7296 | 295 | 3 | 630
3000 | 3724.38 | 3000 | 13068 | 285 | 6 | 500
4000 | 4965.84 | 4000 | 17424 | 285 | 8 | 500
4998 | 6498 | 5280 | 21660 | 300 | 6 | 880
4950 | 6498 | 5250 | 21660 | 300 | 7 | 750
5000 | 6498 | 5600 | 21660 | 300 | 7 | 800
5000 | 6207.3 | 5000 | 21780 | 285 | 10 | 500
1430 | 1998 | 1500 | 7400 | 270 | 3 | 500
5000 | 6207.3 | 5000 | 21780 | 285 | 10 | 500
5000 | 6207.3 | 5000 | 21780 | 285 | 10 | 500
3000 | 3724.38 | 3000 | 13068 | 285 | 6 | 500
1990 | 595.08 | 2000 | 2052 | 290 | 4 | 500
4500 | 6119.4 | 4500 | 26040 | 235 | 9 | 500
3200 | 4550.1 | 3200 | 15167 | 300 | 4 | 800
1996.4 | 1996.4 | 2000 | 8680 | 230 | 4 | 500
5000 | 6656.32 | 5400 | 21472 | 310 | 6 | 900
2500 | 2572.5 | 2500 | 10500 | 245 | 5 | 500
1990 | 3360 | 2000 | 12000 | 280 | 4 | 500
2000 | 2468.48 | 2000 | 8512 | 290 | 4 | 500
1500 | 1595.44 | 1500 | 5698 | 280 | 3 | 500
3000 | 3724.38 | 3000 | 13068 | 285 | 6 | 500
5000 | 6207.3 | 5000 | 21780 | 285 | 10 | 500
2000 | 2572.5 | 2000 | 10500 | 245 | 4 | 500
4998 | 6498 | 5280 | 21660 | 300 | 6 | 880
5000 | 6492 | 5000 | 21640 | 300 | 5 | 1000
5000 | 6207.3 | 5000 | 21780 | 285 | 10 | 500
1999 | 1999.2 | 2000 | 6664 | 300 | 4 | 500
4875 | 5950.8 | 5000 | 20520 | 290 | 10 | 500
4950 | 6656.32 | 5400 | 21472 | 310 | 6 | 900
3000 | 3724.38 | 3000 | 13068 | 285 | 6 | 500
4998 | 6498 | 5280 | 21660 | 300 | 6 | 880
4998 | 6498 | 5280 | 21660 | 300 | 6 | 880
5000 | 6207.3 | 5000 | 21780 | 285 | 10 | 500
4998 | 6498 | 5280 | 21660 | 300 | 6 | 880
1989 | 2572.5 | 2500 | 10500 | 245 | 5 | 500
5000 | 6207.3 | 5000 | 21780 | 285 | 10 | 500

## Sheet2
1583 US 221 South | Forest City
|  | 35.3233 | -81.9351 | 1124645 | 585520